LIFE SAFETY ALERT:

Vulnerabilities with Fire Protection and Life Safety Systems

Life safety in facilities that provide care and compassion to some of our state’s most vulnerable residents is in part based on the presence of sophisticated fire protection and life safety systems within the built-environment.  These systems are highly regulated by all applicable authorities having jurisdiction including federal, state and local agencies.  Everyone from licensing agencies like CMS to the local fire department have an obligation to help ensure that these systems are properly inspected, tested and maintained in accordance with all regulations.

While extensive oversight is in place to help ensure the reliability of these systems, there still are times when mechanical and electrical systems are vulnerable.  Fire protection systems like wet sprinkler systems are subjected to environmental conditions including freezing temperatures that can impair effectiveness.  Life safety systems most commonly rely on electrical power to help ensure safety and security in health care facilities.  When these systems are compromised, life safety is at risk.

A fire in a Tennessee long term care facility in late 2022 happened while a Fire Watch was in place in the building due to unexpected frigid temperatures that caused the fire sprinkler system to freeze subsequently rendering the system inoperable.  The facility initiated a Fire Watch but a fast-moving fire during the period of time that the fire sprinkler system was inoperable occurred and a resident was killed.  While a Fire Watch procedure is designed to monitor a building for smoke and fire conditions when fire protection systems are inoperable, it was not enough to prevent a tragic loss in this situation.

Long term care providers should train staff to understand the significance of fire protection systems and the vulnerabilities that exist when they are out of service.  Informed decisions need to be made when a system goes out of service to determine if a Fire Watch is appropriate or if a building should be evacuated when fire protection systems are compromised.  When one of these critical systems goes down due to a mechanical or electrical malfunction, facilities should activate their Emergency Operations Plan (EOP) and establish an Incident Management Team (IMT) to effectively manage the situation like any other emergency incident or disaster.

Many skilled nursing facilities, especially those that provide behavioral care or include a secure memory unit are equipped with electronic safety systems including door alarms, wander management solutions and delayed egress locks to help safeguard residents.  These systems are designed to keep residents safe and secure under normal conditions as well as provide them with an unimpeded path out of the building when emergency evacuation is required.

There are times when these systems are compromised representing a significant life safety vulnerability.  For example, when the building’s fire alarm system activates or a power failure occurs, some of these systems will disengage to allow safe egress during an emergency.  Of course, conducting fire drills as well as scheduled and unscheduled power disruptions can also disengage some of these systems.

It is essential to train your staff to understand the security and elopement risks that exist when these systems are disengaged either during a real-world emergency or drill.  Appropriate measures need to be in place to reset or re-arm these critical systems as quickly and efficiently as possible to reduce the risk of elopement or unauthorized entry into a facility.

Fire and life safety compliance does not happen in a long term care facility by accident.  Ensuring a safe and secure environment of care requires the integration of fire protection and life safety systems into the built-environment to help safeguard stakeholders including residents, staff and visitors.  All facility staff members should be trained on a regular basis to fully understand the consequences when fire protection or life safety systems are compromised and know what measures are needed to restore these systems in the quickest possible manner to reduce the potential for an adverse incident.

Contact Stan Szpytek, CAHF Life Safety Consultant with any questions at Stan@FLSafety.org or call him at (708) 707-6363.